# 0) General tips

- Plot saving: use the Bokeh toolbar’s Save (disk) icon on each plot to save as PNG/SVG (depending on your browser/stack). The app doesn’t add custom export buttons.

- Data flow: tabs unlock in order. If a tab is disabled/empty, complete the prior step (or use the NMF tab’s aligned-CSV loader).

- Naming: sample names must be unique (the app checks and helps you rename).

- Minutes vs seconds: the Upload tab can convert times to minutes—keep that setting consistent for your workflow.

- Pseudotime: alignment converts your time axis to [0,1]. Diversity (aligned-based) and downstream visualizations assume pseudotime in [0,1].

# 1) Upload

Purpose: Bring in one or more .cdf files and convert to per-sample CSV.

How to use

- Click Upload, choose one or more .cdf files.

- (Optional) toggle Convert time to minutes.

- Edit names in Sample Renamer so each is unique.

- Click Convert to CSV.

- Download outputs:

  - ZIP: per-sample CSVs.

  - Merged CSV (only if all files share identical time stamps).

Preview

- Shows stacked chromatograms; use Vertical offset to separate traces visually.

# 2) Preprocess

Purpose: Clean and standardize signals before alignment. Stages are sequential; each stage supports Preview → Apply or Skip.

## Despiking

- Removes singleton spikes/impulses.

- Parameters (typical): window/threshold (depends on your despike utils).

- Buttons: Show despiking preview, Apply, or Skip.

## Smoothing

- Reduces noise (e.g., moving average, Savitzky–Golay).

- Parameters: window length, polynomial order, etc.

- Smoothing is very important for correctly calculating the area under the curve during normalization (see below); in general, window of size 7-9 and second order derivative do the trick; if at the normalization stage some of the peak areas are computed iincorrectly (i.e. not the entire peak is filled), repeat the smoothing step.

- Buttons: preview, Apply, or Skip.

## Baseline subtraction

- Removes low-frequency drift.

- Parameters: baseline window/strategy.

- If the baseline subtraction results in the trace “sagging” below 0, the window is too small; rule of thumb, use a window of at least 999.

- Buttons: preview, Apply, or Skip.

## Normalization

- Scales traces to comparable magnitudes (e.g., peak or area normalization).

- Buttons: Apply normalization or Skip normalization.

- Outcome: Unlocks Alignment with the current dataset.

- Try to select a peak with a known standard concentration across all samples (e.g. Glc15)

Tips

- If a stage complains “preview first”, click its preview button to populate its outputs.

- You can always Skip a stage to pass the input forward unchanged.

# 3) Alignment

Purpose: Map each trace’s true time to a shared pseudotime [0,1]via manual/semi-automatic anchors.

Workflow

- Choose Number of anchors (≥2) and click Start anchor selection.

- For each anchor:

  - Use Box Select to draw a vertical range over the target peak region (across all samples).

  - Click Use selected range for THIS anchor (all samples) to auto-pick each sample’s local max in that range.

  - (Optional) If some samples picked poorly, select them in Samples needing correction, re-select a more precise region, then Use selection for THIS sample.

  - Click Done with this anchor → Next and repeat for all anchors.

- Review/edit Target pseudotime values (comma-separated; strictly increasing in [0,1]).

- Click Align curves.

Outputs

- Aligned preview figure (pseudotime on x-axis).

- A pseudotimes table internally (wide format) used to unlock NMF.

- CSV download of pseudotimes (wide) for external reuse.

Notes

- The Bokeh toolbar’s Box Select is crucial. Selection highlights as a gray band.

- If some anchors are invalid (NaN or missing), fix them before moving to the next anchor or finalizing.

# 4) NMF (factorization)

Purpose: Factor aligned traces into non-negative loadings (per sample) and a smooth basis (Gaussian dictionary).

Two entry points

- Normal flow: unlocked after Alignment → Align curves.

- Fast path (top of NMF tab): Load aligned CSV to bypass Upload/Preprocess/Alignment.

  - Provide pseudotimes_wide.csv (columns per sample of pseudotime values) and a corresponding normalized intensities CSV (same shape/order).

  - The app previews the shapes/first rows and launches NMF on import.

Interactive preview

- K: number of basis components  in general, you need at least 200 basis components, if not more.

- l2: L2 regularization on loadings (stabilizes fits, suppresses noise).

- Sample: choose a sample to inspect.

- The app fits (via CEtools) and shows original vs reconstructed overlay for the chosen sample—use this to tune K and l2.

Finalize

- Click Calculate NMF Loadings to run on all samples with current K and l2.

- Outputs:

  - Loadings heatmap (z-scored by component) inside the tab.

  - Download CSV of the loadings matrix (rows = samples; columns = basis_00, basis_01, …).

- Downstream: Enables Visualization and Diversity (NMF mode).

# 5) Diversity (alpha)

Purpose: Compute per-sample alpha diversity using peak areas projected to a shared pseudotime grid, or directly from NMF loadings.

Source

- Aligned intensities (binned) → peak-based abundance using pseudotime grid.

- NMF loadings → treat each component weight as an “OTU” abundance.

Peak-based mode controls

- Grid points: number of bins in [0,1] for the shared grid.

- Matching tolerance: how close a detected peak’s center must be to a bin to count toward that bin.

- ROI [lo, hi]: pseudotime analysis window, within [0,1].

- Value mapped: area (recommended) or height per detected peak.

- Normalize by total AUC: if on, each peak’s area is divided by the sample’s total AUC in ROI (makes abundances comparable across samples).

- Peak prominence and Mode (absolute or relative): detection sensitivity.

- Distance/Width: optional peak separation/width hints (passed to scipy.signal.find_peaks if available).

- Richness threshold: minimal abundance to count a bin as present for richness/Pielou.

NMF mode controls

- Richness threshold only (other peak controls are hidden in this mode).

Metrics computed

- richness (S), Shannon (H), Shannon effective (exp(H)),

- Simpson D, Gini–Simpson (1–D),

- Hill numbers (q0=S, q1=exp(H), q2=1/D),

- Pielou evenness (H/ln S).

Actions

- Compute alpha diversity → fills the table and enables Download CSV.

- Viz integration: switch Color by (in Visualization tab) to diversity metric, choose your metric, and set categorical or continuous.

Notes & pitfalls

- Peak mode requires aligned data; ROI and tolerance assume pseudotime in [0,1].

# 6) Visualization

Purpose: Explore NMF loadings with PCA/MDS/t-SNE, colored by either user metadata or computed diversity metrics.

Metadata & coloring

- Manual metadata: upload CSV/XLSX with two columns: sample, metadata, or edit the in-app table.

- Color by: choose manual metadata or diversity metric (once computed in the Diversity tab).

- Value type: categorical (discrete legend) or continuous (colorbar).

Enable

- Click Visualize to activate the plots. Afterwards, each section updates independently when you change its controls.

PCA

- Controls: # PCs for PCA, PC X, PC Y.

- Plots:

  - PCA scatter (colored by chosen values).

  - Scree plot (variance explained).

  - PC loadings (bar/line; uses CEtools pca_viz).

- Tip: increase # PCs if you pick higher PC indices for X/Y.

MDS

- Control: MDS metric: cosine | euclidean.

- Shows 2D embedding of loadings (row-normalized, z-scored features under the hood).

t-SNE

- Controls: Perplexity, Metric: cosine | euclidean.

- 2D embedding; colored as above.

Saving

- Use each plot’s Bokeh Save tool.

# 7) Alternative start: Load aligned data directly

If you already have aligned pseudotimes and normalized intensities from a prior run:

- Go to NMF tab, use Load aligned CSV.

- Provide pseudotimes (wide) and normalized intensities (wide) with identical shapes/order.

- After the preview, NMF is ready to use immediately; Visualization and Diversity will unlock once NMF is calculated (or you can use Diversity in aligned-mode right after Alignment if you also load the intensities here).

# 8) Troubleshooting quick hits

- A tab is blank/disabled → finish the previous step or use the aligned-CSV loader in NMF; sometimes you need to hit “refresh” in the browser if a tab is blank.

- No PCA/MDS/t-SNE color → click Visualize, then choose Color by and set Value type.

- Diversity button disabled → ensure you have either (a) aligned data (for peak mode) or (b) NMF loadings (for NMF mode).

- Prominence too strict → lower prominence or switch to relative mode.

- Too few peaks → widen ROI, relax distance/width, or reduce prominence.

- t-SNE unstable → try different perplexity (rule of thumb: < number of samples), or switch metric.

That’s it—you’re ready to process, align, factorize, visualize, and quantify diversity in your electropherograms.