General tips

- Plot saving: use the Bokeh toolbar’s Save (disk) icon on each plot to save as PNG/SVG (depending on your browser/stack). The app doesn’t add custom export buttons.
Data flow: tabs unlock in order. If a tab is disabled/empty, complete the prior step (or use the NMF (preload) tab’s aligned-CSV loader).

- Naming: sample names must be unique (the app checks and helps you rename).

- Minutes vs seconds: the Upload tab can convert times to minutes—keep that setting consistent for your workflow.

- Pseudotime: alignment converts your time axis to [0,1]. Diversity (aligned-based) and downstream visualizations assume pseudotime in [0,1].

Upload

- Purpose: Bring in one or more .cdf files and convert to per-sample CSV.

- How to use

  - Click Upload, choose one or more .cdf files.

  - (Optional) toggle Convert time to minutes.

  - Edit names in Sample Renamer so each is unique.

  - Click Convert to CSV.

- Download outputs:

  - ZIP: per-sample CSVs.

  - Merged CSV (only if all files share identical time stamps).

- Preview: shows stacked chromatograms; use Vertical offset to separate traces visually.

Preprocess

- Purpose: Clean and standardize signals before alignment. Stages are sequential; each stage supports Preview → Apply or Skip.

- Despiking

  - Removes singleton spikes/impulses.

  - Parameters (typical): window/threshold (depends on your despike utils).

  - Buttons: Show despiking preview, Apply, or Skip.

- Smoothing

  - Reduces noise (e.g., moving average, Savitzky–Golay).

  - Parameters: window length, polynomial order, etc.

  - Smoothing is very important for correctly calculating the area under the curve during normalization (see below); in general, window of size 7-9 and second order derivative do the trick; if at the normalization stage some of the peak areas are computed incorrectly (i.e. not the entire peak is filled), repeat the smoothing step.

  - Buttons: preview, Apply, or Skip.

- Baseline subtraction

  - Removes low-frequency drift.

  - Parameters: baseline window/strategy.

  - If the baseline subtraction results in the trace “sagging” below 0, the window is too small; rule of thumb, use a window of at least 999.

  - Buttons: preview, Apply, or Skip.

- Normalization

  - Scales traces to comparable magnitudes (e.g., peak or area normalization).

  - Buttons: Apply normalization or Skip normalization.

  - Outcome: Unlocks Alignment with the current dataset.

  - Try to select a peak with a known standard concentration across all samples (e.g. Glc15)

- Tips

  - If a stage complains “preview first”, click its preview button to populate its outputs.

  - You can always Skip a stage to pass the input forward unchanged.

Alignment
Note: this section often shows up as blank once Normalization is applied or skip in the previous step. Not to worry: simply hit refresh in your browser; your data should remain saved by the app.

- Purpose: Map each trace’s true time to a shared pseudotime [0,1]via manual/semi-automatic anchors.

- Workflow

  - Choose Number of anchors (≥3) and click Start anchor selection.

  - For each anchor:

  - Use Box Select to draw a vertical range over the target peak region (across all samples).

  - Click Use selected range for THIS anchor (all samples) to auto-pick each sample’s local max in that range.

  - (Optional) If some samples picked poorly, select them in Samples needing correction, re-select a more precise region, then Use selection for THIS sample.

  - Click Done with this anchor → Next and repeat for all anchors.

  - Review/edit Target pseudotime values (comma-separated; strictly increasing in [0,1]).

  - Click Align curves.

- Outputs

  - Aligned preview figure (pseudotime on x-axis).

  - A pseudotimes table internally (wide format) used to unlock NMF.

  - CSV download of pseudotimes (wide) for external reuse.

- Notes

- The Bokeh toolbar’s Box Select is crucial. Selection highlights as a gray band.

- If some anchors are invalid (NaN or missing), fix them before moving to the next anchor or finalizing.

NMF (current session)
Note: this step is fairly slow, especially for high values of K or as the number of samples in the dataset increases. Be patient every time you load a preview, but don’t wait more than 1-2 min.

- Purpose: Factor the just-aligned traces into non-negative loadings (per sample) and a smooth basis.

- Entry point: Automatically unlocks after Alignment → Align curves and is pre-primed with the aligned data from this session.

- Interactive preview

  - K: number of basis components → in general, you need at least 200 basis components, if not more.

  - l2: L2 regularization on loadings (stabilizes fits, suppresses noise).

  - Sample: choose a sample to inspect.

- The app fits (via CEtools) and shows original vs reconstructed overlay for the chosen sample—use this to tune K and l2

- Finalize

  - Click Calculate NMF Loadings to run on all samples with current K and l2.

- Outputs:

  - Loadings heatmap (z-scored by component) inside the tab.

  - Download CSV of the loadings matrix (rows = samples; columns = basis_00, basis_01, …).

- Downstream: Enables Visualization and Diversity (you can compute Diversity before or after NMF; Viz needs NMF).

NMF (preload)
Note: the most time-efficient way to perform this step is to load the pseudootimes_wide.csv result of alignment (see previous steps), and then load it in using the CSV (pseudotime_wide.csv) mode.

- Purpose: Same factorization as above, but from user-supplied aligned CSV.

- How to use

  - Load pseudotimes_wide.csv (columns are samples’ pseudotimes) and matching normalized intensities (same shape/order).

  - Inspect the quick preview; then use Preview reconstruction to tune K, l2, and sample.

  - Click Calculate NMF Loadings to finalize.

- Outcome

  - Whichever NMF tab you complete last defines the session’s loadings for Visualization and Diversity.

Diversity (alpha)

- Purpose: Compute per-sample alpha diversity using peak areas projected to a shared pseudotime grid, or directly from NMF loadings.

- Source

  - Aligned intensities (binned) → peak-based abundance using pseudotime grid.

  - NMF loadings → treat each component weight as an “OTU” abundance.

- Peak-based mode controls

  - Grid points: number of bins in [0,1] for the shared grid.

  - Matching tolerance: how close a detected peak’s center must be to a bin to count toward that bin.

  - ROI [lo, hi]: pseudotime analysis window, within [0,1].

  - Value mapped: area (recommended) or height per detected peak.

  - Normalize by total AUC: if on, each peak’s area is divided by the sample’s total AUC in ROI (makes abundances comparable across samples).

  - Peak prominence and Mode (absolute or relative): detection sensitivity.

  - Distance/Width: optional peak separation/width hints (passed to scipy.signal.find_peaks if available).

  - Richness threshold: minimal abundance to count a bin as present for richness/Pielou.
NMF mode controls

  - Richness threshold only (other peak controls are hidden in this mode).

- Metrics computed

  - richness (S), Shannon (H), Shannon effective (exp(H)),

  - Simpson D, Gini–Simpson (1–D),

  - Hill numbers (q0=S, q1=exp(H), q2=1/D),

  - Pielou evenness (H/ln S)

- Actions

  - Compute alpha diversity → fills the table and enables Download CSV.

  - Viz integration: switch Color by (in Visualization tab) to diversity metric, choose your metric, and set categorical or continuous.

- Notes & pitfalls

  - Peak mode requires aligned data; ROI and tolerance assume pseudotime in [0,1].

Visualization

- Purpose: Explore NMF loadings with PCA/MDS/t-SNE, colored by either user metadata or computed diversity metrics.

- Metadata & coloring

  - Manual metadata: upload CSV/XLSX with two columns: sample, metadata, or edit the in-app table.

  - Color by: choose manual metadata or diversity metric (once computed in the Diversity tab).

  - Value type: categorical (discrete legend) or continuous (colorbar).

- Enable

  - Click Visualize to activate the plots. Afterwards, each section updates independently when you change its controls.

- PCA

  - Controls: # PCs for PCA, PC X, PC Y.

  - Plots:

    - PCA scatter (colored by chosen values).

    - Scree plot (variance explained).

    - PC loadings (bar/line; uses CEtools pca_viz).

  - Tip: increase # PCs if you pick higher PC indices for X/Y.

- MDS

  - Control: MDS metric: cosine | euclidean.

  - Shows 2D embedding of loadings (row-normalized, z-scored features under the hood).

- t-SNE

  - Controls: Perplexity, Metric: cosine | euclidean.

  - 2D embedding; colored as above.

- Saving

  - Use each plot’s Bokeh Save tool.

Alternative start: Load aligned data directly

If you already have aligned pseudotimes and normalized intensities from a prior run:
Go to NMF (preload) and load the CSVs.

After the preview, NMF is ready to use immediately; Visualization will unlock once NMF is calculated (or you can compute Diversity in aligned-mode right after Alignment if you set aligned inputs there).

Troubleshooting tips

- A tab is blank/disabled → finish the previous step or use NMF (preload); sometimes you need to hit “refresh” in the browser if a tab is blank.

- No PCA/MDS/t-SNE color → click Visualize, then choose Color by and set Value type.

- Diversity button disabled → ensure you have either (a) aligned data (for peak mode) or (b) NMF loadings (for NMF mode).

- Prominence too strict → lower prominence or switch to relative mode.

- Too few peaks → widen ROI, relax distance/width, or reduce prominence.

- t-SNE unstable → try different perplexity (rule of thumb: < number of samples), or switch metric.

- No “diversity metric” option in Viz → compute Diversity first; ensure the sample names (Diversity table index) match H_df row labels.